## README
Reverse TCO Tool v1 — Cloud AIaaS Spend to On-Prem NVIDIA Infrastructure
PURPOSE: Start from a customer's current cloud AI spend and output (a) the on-prem NVIDIA fleet required to absorb the workload and (b) cost of ownership vs. continuing to rent, over 1/3/5 years.
HOW TO USE:
1. Go to the Inputs tab. Yellow cells are for you to edit. Tier 1 needs only monthly spend + provider; every other yellow cell has a working default.
2. Results tab shows the comparison: floor case (no performance factors) first, then the adjusted case.
3. RateCard, Hardware, and PerfFactors tabs hold every price and assumption (blue text = editable data). Update them as prices change; nothing is hardcoded in formulas.
4. Validation tab reproduces NVIDIA's DGX TCO tool Test 1 from the same rate card. All checks must read PASS before customer use.
COLOR LEGEND:
Blue text = editable data value (rate card, registry, factors)
Yellow fill = customer/analysis input cell (Inputs tab)
Green text = formula linking to another tab
Black text = same-tab formula
V1 SCOPE NOTES:
- Priced on-prem system: DGX B200 (other systems listed in Hardware are placeholders until priced).
- Cloud rates live on the CloudRates sheet (AWS only in this reference workbook — non-AWS selections deliberately hard-stop; the web calculator routes all five providers). B200 row preserves the NVIDIA DGX TCO tool snapshot (Jul 2026).
- Financing: optional. Enter a day-of lease rate factor + term on Inputs to add a leased view; blank = capex view only.
- Fleet is sized for current workload; growth consumes headroom (Results shows headroom-exhaustion year). Auto-adding systems in later years is a v2 feature.
- Minimum-viable-spend qualification threshold: v2 (web version).
SOURCES: NVIDIA DGX TCO tool defaults (extracted Aug 2026); MLPerf-derived performance factors (see PerfFactors tab notes).
V2.0 WORKBOOK UPDATES (external audit response): harmonic workload blend in Engine!B10; lease view now shows lease + opex total; residual excludes professional services; EngineRegression sheet exercises the LIVE engine against a Test 1 fixture; fleet expansion under growth remains NOT modeled in the workbook (see Results warning) — the deployed web engine v2.0 models it dynamically.
Hardware registry note: only rows marked Priced?=YES are valid selections; placeholder rows produce nonsensical results and are guarded in the web app.
V2.1 (audit round 3): floor-case headroom/exhaustion computed separately and warning keys on the EARLIER exhaustion; payback shows no-crossover text instead of negative months; spend/storage reconciliation (Engine STEP 8 + Results row 32) flags storage inconsistent with the stated bill; unpriced hardware now hard-errors (NA error); residual also excludes the software suite; provider and lease-term fields labeled for scope; regression coverage extended.
SCOPE (v2.2): this workbook is the AUDITABLE REFERENCE IMPLEMENTATION for the core sizing and TCO formulas. The deployed web application extends it with dynamic fleet growth under demand, five-provider rate routing, capacity/unit-economics estimates and UI-level validation. True end-to-end parity requires the automated Excel↔JavaScript fixture suite (deploy-phase item).
GROWTH CONVENTION (documented, both engines): cloud compute spend grows at the selected demand-growth rate; cloud non-compute spend and all on-prem opex grow at the 4%/yr ops rate. Crossover (Results!B26) is computed from cumulative monthly cash flows on the Crossover sheet; static payback is retained as a secondary metric only. Equinix bundle note: per-DGX rate covers system colocation; separate storage-rack colocation is not separately modeled (storage support is).
V2.3 (audit round 5): CloudRates sheet — blended rate routed by selected GPU class (was hardwired to B200 rates, the round-5 P0); Crossover rebuilt on the STATED bill baseline with RateCard-referenced growth (hardcoded 1.04 removed); Tier-1 storage Auto mode derives PB from the bill (Known mode preserves Tier 2/3 entry); crossover suppressed when adjusted capacity exhausts before breakeven; fixture check includes storage mode; crossover regression check + 5-scenario manual checklist added; Validation tolerance tightened to MAX($1, 0.01%).
V2.4 (audit round 6): B200 split from B300 — class renamed to plain B200, B300 blocked from the workbook rent-side via data validation pending a benchmark-derived B300→B200 factor (web calculator offers B300 with EST-flagged rates and provisional index — a deliberate reference-vs-product scope split); CloudRates carries per-price confidence (OD LISTED-tracker, 1-yr EST-derived, B200 SNAPSHOT); provider hard-stop — non-AWS selection deliberately NA-errors the calculation with a visible Results guard message; S2 regression rewritten as a cell-level check; Validation header tolerance sentence corrected.
V2.5 (audit round 7): horizon totals suppress to explicit N/A when the static fleet is known-insufficient (per case, per horizon — adjusted AND floor); formula-level GPU-class guard catches pasted values that bypass data validation (Results row 35 + crossover short-circuit); stale B200/B300-class references cleaned; GPU count read from CloudRates registry; rack-setup amortization months promoted to an editable RateCard field; README provider language updated.
SCOPE NOTES (v2.6): (a) Equinix branch — the $11,387/system/mo bundle covers system colocation; incremental storage-rack colocation/power beyond the bundle is NOT separately modeled (disclosed assumption; storage-heavy Equinix scenarios may run somewhat higher than shown). (b) Confidence ranges — Tier 1/2 range display remains a ROADMAP item for the web application; both engines currently output point estimates, with uncertainty carried via rate confidence labels and the floor-vs-adjusted spread rather than numeric ranges.
V2.6 (audit round 8): master input guard (Engine!B63) — formulas refuse impossible states even when pasted past data validation (zero spend/compute-share/utilization, >100% residual, invalid facility/mode/hardware); all six horizon-total cells master-guarded to 'N/A — see input guard' instead of raw errors; data validations tightened (spend > 0, compute share > 0, facility/provider lists); Results TCO table reordered FLOOR FIRST per the design spec's credibility-anchor principle; spec Step 6 growth wording, Rate Card B200 row, and Open Question 4 rewritten in place.
V2.7 (audit round 9 — final input-hardening pass): master guard extended with ISNUMBER + range checks for power rate (≥0), all three performance factors at their documented NVIDIA ranges (1-2.5 / 1-10 / 1-5 — guard and documentation now agree), Tier-3 GPU-hours (≥0), and lease factor/term (positive when populated); ALL remaining visible Results key-figure rows (systems, capex, headroom, exhaustion, displaced storage, lease view, one-time, residual, earliest-exhaustion, reconciliation, static payback) master-guarded so an invalid pasted input produces zero raw Excel errors anywhere on Results. Note: Excel compares text greater than numbers, so every guarded numeric field carries an explicit ISNUMBER check.

## RateCard
Rate Card — all editable (blue). Effective date + source in column C. | Value | Source / note
CLOUD (AWS, B200-class 8-GPU instance; NVIDIA TCO tool defaults Jul 2026)
Instance rate, on-demand ($/instance-hr) — B200 REFERENCE ROW; Engine uses CloudRates lookup since v2.3 | 113.93 | p6-b200.48xlarge class; NVIDIA TCO tool
Instance rate, 1-yr reserved ($/instance-hr) — B200 REFERENCE ROW; Engine uses CloudRates lookup since v2.3 | 68.36 | NVIDIA TCO tool
NVAIE support, on-demand ($/instance-hr) | 8 | NVIDIA TCO tool
NVAIE support, 1-yr reserved ($/instance-hr) | 2.88 | NVIDIA TCO tool
Fast storage ($/GB/mo) | 0.14 | Parallel FS class
Bulk storage ($/GB/mo) | 0.02 | Object class
Egress ($/GB) | 0.05
Egress volume (% of stored per month) | 5% | NVIDIA default 5%
Cloud admin FTE, fully loaded ($/yr) | 189000
Billing/mgmt software ($/yr) | 5000
Cloud admin overhead (FTE) | 0.01 | Implied by NVIDIA Test 1 ($574/mo total admin)
PaaS uplift (% over raw instance price) | 0% | 0 default; SageMaker/Vertex-style platforms typically 15-30%
GPUs per cloud instance — LEGACY reference; Engine reads CloudRates!E per class since v2.5 | 8
ON-PREM (DGX B200 reference; NVIDIA TCO tool defaults Jul 2026)
Cluster management server nodes ($/cluster, fixed) | 600000 | Charged once per cluster
Professional services & installation ($/system) | 25000
Rack + PDUs ($/rack, compute) | 15000 | Storage rack cost is inside storage $/PB
Fast storage hardware+software ($/PB) | 1200000 | Incl. chassis, rack, cables
Fast storage support ($/PB/yr) | 100000
Bulk storage hardware+software ($/PB) | 500000 | Incl. chassis, rack, cables
Bulk storage support ($/PB/yr) | 33333
Storage power (kW per PB) | 10
Storage racks per PB | 1 | Used for per-rack setup cost only
Power cost ($/kW-month, fully loaded) | 300 | NVIDIA conservative default (~$0.41/kWh); override on Inputs
Networking / VPN / firewall ($/mo) | 3000
Initial setup ($/rack, one-time; amortized over 36 mo) | 2000
Admin ratio (systems per FTE) | 10
On-prem admin FTE, fully loaded ($/yr) | 189000
Equinix Private AI bundle ($/system/mo) | 11387 | Colo + air/liquid cooling + interconnect + managed services; replaces power, facility, and admin lines
OPERATING BASIS
Hours per month | 730 | 24 x 365 / 12
Ops/admin cost growth (%/yr, both sides) | 4% | NVIDIA default
Rack setup amortization (months) | 36

## CloudRates
Cloud instance rates by GPU class — AWS (workbook scope)
GPU class | Instance | OD $/instance-hr | 1-yr $/instance-hr | GPUs | OD confidence | 1-yr confidence | As of
A100 | p4d.24xlarge | 32.8 | 19.68 | 8 | LISTED — secondary tracker | EST — 40% off OD assumption | Jul-Aug 2026
H100 | p5.48xlarge | 55.04 | 33.02 | 8 | LISTED — secondary tracker | EST — 40% off OD assumption | Jul-Aug 2026
H200 | p5e.48xlarge | 80 | 48 | 8 | LISTED — secondary tracker | EST — 40% off OD assumption | Jul-Aug 2026
B200 | p6-b200.48xlarge | 113.93 | 68.36 | 8 | SNAPSHOT — NVIDIA TCO tool | SNAPSHOT — NVIDIA TCO tool | Jul 2026
v2.4: each price carries its own provenance — AWS sells On-Demand, Savings Plans and Capacity Blocks as distinct purchasing constructs, so an assumed 40%-off rate is labeled EST, never implied as an AWS-listed reserved price. B200 row = NVIDIA TCO tool snapshot (both prices). NVAIE support stays on RateCard (B6/B7, per instance-hr). B300 is intentionally absent: workbook blocks it pending a benchmark-derived factor; the web calculator offers it with EST-flagged rates and a provisional capability index.

## Hardware
On-Prem System Registry — add rows as new systems are priced (blue = editable)
System | GPUs | System cost | SW suite | Compute fabric | Storage fabric | Mgmt fabric | kW per system (avg) | Sys/rack | Priced? | Note
DGX B200 | 8 | 485000 | 142800 | 54323 | 23443 | 14227 | 14.4 | 2 | YES | NVIDIA TCO tool Jul 2026
DGX B300 | 8 | 0 | 0 | 0 | 0 | 0 | 14.4 | 2 | NO | Placeholder — price before selecting
DGX H200 | 8 | 0 | 0 | 0 | 0 | 0 | 10.2 | 2 | NO | Placeholder — price before selecting
DGX GB200 NVL-72 | 72 | 0 | 0 | 0 | 0 | 0 | 120 | 1 | NO | Placeholder — price before selecting
Cloud GPU class list (drives PerfFactors lookups; keep in sync with PerfFactors rows):
A100
H100
H200
B200

## PerfFactors
Generational performance factors: cloud GPU class -> DGX B200 target (blue = editable)
Cloud GPU class | Training (default) | Training (max) | Inference (default) | Inference (max) | Source / note
A100 | 4.4 | 8 | 12 | 18 | Chained: A100->H100 (2.0x train / 3.0x infer, conservative from MLPerf 4.5x max) x H100->B200
H100 | 2.2 | 3 | 4 | 15 | MLPerf v4.1: 2.0-2.2x training. Inference 4x MLPerf; 15x = NVIDIA best-case FP4
H200 | 1.5 | 2 | 2.9 | 10 | Derived: H100 factors / H200-vs-H100 (1.4-1.47x train, ~1.4x infer)
B200 | 1 | 1 | 1 | 1 | Like-for-like silicon
Rule: defaults = MLPerf-audited/derived (conservative); max = NVIDIA marketing upper bound. Floor case in Results ignores this table entirely (all factors = 1.0).
Additional multiplicative factors (network / AI Factory software / NVAIE) are set on the Inputs tab with NVIDIA's range-default-breakeven guidance.

## Inputs
Customer & Analysis Inputs — edit YELLOW cells only | Value | Guidance
TIER 1 — required (hallway conversation)
Monthly cloud AI spend ($) | 105079 | Approximates NVIDIA Test 1 (~1% high; exact compute share would be 49.491%)
Primary provider | AWS | AWS ONLY in this workbook — any other selection deliberately stops the calculation (NA errors). Use the web calculator for Azure / GCP / OCI / CoreWeave.
TIER 2 — refine when known (defaults otherwise)
Current cloud GPU class | H100 | A100 / H100 / H200 / B200 only. B300 renters: use the web calculator — the workbook blocks B300 pending a benchmark-derived B300→B200 factor (audit round 6).
Workload mix: training share (%) | 50% | Inference share = 1 - this. Gates the generational factor.
Commitment mix: on-demand share (%) | 0% | Remainder priced at 1-yr reserved rates
Total storage (PB) | 1 | Used only when Storage mode = Known (Inputs!B38); Auto derives PB from the bill
Fast storage share (%) | 25% | Remainder is bulk
Compute share of monthly bill (%) | 50% | Tier-1 decomposition default (NVIDIA Test 1 derived); storage+admin = remainder
Annual compute growth (%) | 25% | Almost no AI consumption is flat; 0% = NVIDIA's assumption
Facility | Self-hosted | Self-hosted or Equinix
Power rate override ($/kW-month) | 300 | Self-hosted only. NVIDIA default 300; SLED muni power often 150-200
Target on-prem utilization (%) | 85% | De-rated from NVIDIA's implicit 100% for realism
On-prem system (from Hardware registry) | DGX B200 | Only priced systems (Hardware col J = YES)
TIER 3 — validated analysis (overrides)
Actual monthly GPU-hours (from invoice; 0 = not provided) | 0 | If > 0, overrides the spend-based reconstruction
PERFORMANCE FACTORS (beyond generational; NVIDIA range / default / breakeven)
Network (RA InfiniBand) factor | 1 | Range 1-2.5x; NVIDIA default 1.5x; breakeven 1.05x. Keep 1.0 for single-node/inference-only shops
AI Factory software (Run:ai/BCM) factor | 1.3 | Range 1-10x; default 1.3x (util 70->90%); breakeven 1.1x
NVAIE / NIMs factor | 1.3 | Range 1-5x; default 1.3x; breakeven 1.1x
FINANCING (optional — leave factor blank for capex-only view)
Lease rate factor (monthly, day-of quote) |  | e.g., NVIDIA illustrative 3-yr factor was 0.0281. Blank = no lease view
Lease term (months) | 36 | Informational only — not used in any workbook calculation (web/deploy-phase financing field)
V1.2 — TRANSITION, FACILITY, RESILIENCE, RESIDUAL
Facility retrofit, one-time ($; self-hosted retrofit only, else 0) | 0 | ~$10-15K per kW of new capacity; 2 DGX/rack = ~29 kW/rack
Migration engineering, one-time ($) | 100000 | MLOps re-platforming; scale with workload complexity
Dual-run period (months) | 2 | Customer pays cloud AND on-prem during migration
N+1 redundancy (1 = yes, 0 = no) | 0 | Adds one system to both fleets; material at small scale
Residual value (% of systems + storage capex at horizon) | 15% | Flat % simplification; excludes cluster nodes/racks/one-time
Storage mode (Auto = derive PB from bill; Known = use entered PB) | Auto | v2.3: Tier 1 is a true two-input model — Auto sizes storage from the non-compute share of the bill; enter Known + PB for Tier 2/3 precision

## Engine
Calculation Engine — no edits here (green = cross-tab links) | Value | Logic
STEP 1 — Normalize spend to cloud GPU-hours
Blended cloud rate ($/instance-hr) | 35.9 | v2.4: hard-stops (NA) for non-AWS providers — prevents screenshotting AWS math under another provider's name; v2.3 class routing retained
Estimated monthly compute spend ($) | 52539.5 | Bill x compute share
Instance-hours per month | 1463.4958
Cloud GPU-hours per month | 11707.9666 | v2.5: GPU count read from the CloudRates registry row (was legacy RateCard!B16 constant)
STEP 2 — Net Performance Factor
Generational factor (workload-weighted) | 2.8387 | v2.0: harmonic blend — workload shares are GPU-hour shares (audit P0-2)
Net Performance Factor (NPF) | 4.7974 | x network x AI Factory SW x NVAIE
Effective on-prem GPU-hours needed | 2440.4718
Floor-case GPU-hours (NPF = 1.0) | 11707.9666 | Credibility anchor
STEP 3 — Fleet sizing
GPUs per on-prem system | 8
GPU-hours per system per month | 4964 | GPUs x 730 x target utilization
Systems required (adjusted case) | 1
Systems required (floor case) | 3
Growth headroom (adjusted case) | 50.84% | v2.2: headroom uses PRODUCTIVE systems (total − N+1 spare); spare capacity is not growth capacity
STEP 4 — Storage
Fast storage (PB) | 0.24745
Bulk storage (PB) | 0.74236
Cloud storage + egress cost ($/mo, reconstructed) | 51965.3333 | Disappears on-prem (egress ~ $0)
Cloud admin ($/mo, reconstructed) | 574.1667
STEP 5 — On-prem cost stack (ADJUSTED case)
Per-system acquisition ($) | 744793 | v2.2 guard: requires Hardware Priced?=YES and GPU count > 0; otherwise deliberate NA error
Compute racks | 1
Capex: compute + network ($) | 1359793 | Incl. $ fixed cluster mgmt nodes
Capex: storage ($) | 668125.7143
TOTAL CAPEX ($) | 2027918.7143
System kW | 14.4
Opex: power ($/mo) | 7289.4476 | Self-hosted branch
Total racks (compute + storage) | 1.9898
Opex: other facility ($/mo) | 3110.5453 | Network/VPN/firewall + amortized setup
Opex: admin ($/mo) | 1575 | Self-hosted branch
Opex: storage support ($/mo) | 4124.2122 | Both branches
Opex: self-hosted total ($/mo) | 16099.2051
Opex: Equinix total ($/mo) | 15511.2122 | Bundle incl. power, facility, managed svcs (admin = 0)
SELECTED OPEX ($/mo) | 16099.2051
STEP 5b — On-prem cost stack (FLOOR case: NPF = 1.0)
Capex ($) | 3532504.7143
Opex: self-hosted ($/mo) | 27944.7607
Opex: Equinix ($/mo) | 38285.2122
SELECTED OPEX, floor ($/mo) | 27944.7607
STEP 6 — Financing (optional)
Lease + opex, monthly total, adjusted ($/mo) | not entered | v2.0: lease payment + selected monthly opex (audit: lease view omitted opex)
Lease + opex, monthly total, floor ($/mo) | not entered
STEP 7 (v1.2) — One-time costs & residual
One-time transition & exit costs ($) | 359648.7937 | Retrofit + migration + dual-run + cloud exit egress
Residual credit at horizon, adjusted ($) | 186767.8071 | v2.1: residual basis excludes prof services AND software suite (subscription, non-transferable)
Residual credit at horizon, floor ($) | 359865.7071
STEP 8 — Spend/storage reconciliation (v2.1, audit round 3)
Reconstructed non-compute (storage + egress + cloud admin) ($/mo) | 52539.5
Non-compute budget in stated bill ($/mo) | 52539.5
Reconciliation status | OK — within 2% tolerance (difference $0/mo)
Auto-derived total storage PB (from non-compute budget net of admin) | 0.98982
Effective total storage PB used by the model | 0.98982
MASTER INPUT GUARD v2.7 — provider, class, hardware, all numeric fields (ISNUMBER + range), perf factors per documented NVIDIA ranges (1-2.5 / 1-10 / 1-5), Tier-3 hours ≥ 0, lease factor/term positive-if-populated | TRUE
Exhaustion years, adjusted (blank growth-free) | 3.1819
Exhaustion years, floor | 1.078

## Results
Results — Cloud vs. On-Prem
All figures from Engine + Inputs. Cloud compute grows at the compute growth rate; cloud storage/admin and all on-prem opex grow at the ops growth rate.
ANNUAL TRAJECTORY
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Cloud cost ($/yr) | 1260948 | 1443785.46 | 1667036.3034 | 1940592.0368 | 2276808.5698
On-prem opex, adjusted case ($/yr) | 193190.4615 | 200918.08 | 208954.8032 | 217312.9953 | 226005.5151
On-prem opex, floor case ($/yr) | 335337.1282 | 348750.6133 | 362700.6379 | 377208.6634 | 392297.0099
TOTALS (capex view)
| 1 Year | 3 Years | 5 Years
Cloud total ($) | 1260948 | 4371769.7634 | 8589170.37
On-prem total, FLOOR — credibility anchor, no performance credit (capex + one-time - residual + opex) ($) | 3867624.929 | N/A — capacity exhausted yr 1.1; use web model | N/A — capacity exhausted yr 1.1; use web model
SAVINGS, floor case ($) | -2606676.929 | N/A — see on-prem total | N/A — see on-prem total
Savings, floor case (%) | -206.7% | — | —
On-prem total, ADJUSTED (capex + one-time - residual + opex) ($) | 2393990.1623 | 2803863.0455 | N/A — capacity exhausted yr 3.2; use web model
SAVINGS, adjusted ($) | -1133042.1623 | 1567906.7179 | N/A — see on-prem total
Savings, adjusted (%) | -89.86% | 35.86% | —
KEY FIGURES
Systems required (adjusted / floor) | 1 / 3
Total capex, adjusted ($) | 2027918.7143
Growth headroom in year-1 fleet (adjusted / floor) | 50.8% / 21.4%
Years until growth exhausts headroom (adjusted / floor) | 3.2 / 1.1
Cloud storage + egress spend displaced by on-prem storage modeled above ($/mo) | 51965.3333
Crossover month (cumulative monthly cash flows, adjusted case) | Month 25
Lease view, adjusted ($/mo, if factor entered) | not entered
One-time transition & exit costs ($) | 359648.7937
Residual credit at horizon, adjusted ($) | 186767.8071
⚠ WORKBOOK LIMITATION: fleet expansion under growth is NOT modeled here (web engine v2.x models it). Earliest exhaustion, either case (years): | 1.078
Totals for horizons beyond the EARLIER of the two exhaustion years understate on-prem cost (the floor case usually exhausts first — audit round 3). Treat longer-horizon results as directional only.
Spend/storage reconciliation | OK — within 2% tolerance (difference $0/mo)
Simple static payback, adjusted (months — SECONDARY metric only) | 26.8327
Provider guard | AWS — OK
GPU class guard | OK
Master input guard | OK — all inputs valid

## Validation
Validation — reproduce NVIDIA DGX TCO tool Test 1 from this rate card
Scenario: 1x DGX B200 vs AWS B200-class, all perf factors 1.00, 100% utilization, 100% 1-yr reserved, 0.25 PB fast + 0.75 PB bulk, self-hosted. Expected values from NVIDIA tool screenshots (Aug 2026). Tolerance MAX($1, 0.01%) — tightened in v2.3 to match the live regression standard.
Check | This workbook | NVIDIA tool | Status
Monthly GPU-hours per DGX (100% util) | 5840 | 5840 | PASS
Cloud compute ($/mo) | 52005.2 | 52005 | PASS
Cloud storage + egress ($/mo) | 52500 | 52500 | PASS
Cloud admin ($/mo) | 574.1667 | 574 | PASS
Cloud total ($/mo) | 105079.3667 | 105079 | PASS
On-prem compute+network capex ($) | 1359793 | 1359793 | PASS
On-prem storage capex ($) | 675000 | 675000 | PASS
Storage support ($/mo) | 4166.6458 | 4167 | PASS
Ops: power ($/mo) | 7320 | 7320 | PASS
Ops: other facility ($/mo) | 3097.2222 | 3097 | PASS
Ops: admin ($/mo) | 1575 | 1575 | PASS
Ops total ($/mo) | 11992.2222 | 11992 | PASS
Equinix ops total ($/mo) | 11387 | 11387 | PASS
Lease check: compute ($/mo @ 0.0281) | 38210.1833 | 38210 | PASS
Lease check: storage ($/mo @ 0.0281) | 23134.1458 | 23135 | PASS
On-prem monthly total, leased ($/mo) | 73336.5514 | 73337 | PASS
v2.3: tolerance tightened to MAX($1, 0.01%) matching the live regression standard (was 1%).
All rows must read PASS before customer use. If a rate card value changes, expected values here describe the NVIDIA tool snapshot, not your new reality — they exist to prove the formula logic, not to freeze prices.

## EngineRegression
Engine Regression — NVIDIA Test 1 fixture (audit P0-3 response)
Set the Inputs tab to the fixture below, then every check compares the LIVE Engine/Results cells (not shadow formulas) to expected values under the engine's documented conventions. Tolerance: MAX($1, 0.01%). Note: 'Other facility' expected is $3,111 (engine counts 1.0 storage rack for 1.0 PB) vs NVIDIA's $3,097 (0.75 racks) — a documented convention difference of $14/mo.
FIXTURE (set these on Inputs):
Inputs!B4 Monthly spend | 105079
Inputs!B13 Compute share | 0.49491
Inputs!B8 GPU class | B200
Inputs!B9 Training share | 0.5
Inputs!B10 OD share | 0
Inputs!B11 Storage PB | 1
Inputs!B12 Fast share | 0.25
Inputs!B14 Growth | 0
Inputs!B15 Facility | Self-hosted
Inputs!B16 Power | 300
Inputs!B17 Utilization | 1
Inputs!B18 System | DGX B200
Inputs!B21 Tier3 hrs | 0
Inputs!B24-26 Factors | 1.0 / 1.0 / 1.0
Inputs!B33-B37 Retrofit/Migr/Dual/N+1/Resid | 0 / 0 / 0 / 0 / 0%
Inputs!B38 Storage mode | Known
Fixture loaded? | NO — set fixture first
Check (live Engine/Results cell) | Engine value | Expected | Status
Cloud GPU-hours/mo (Engine!B7) | 11707.9666 | 5840 | FIXTURE NOT LOADED
Blended rate $/instance-hr (Engine!B4) | 35.9 | 71.24 | FIXTURE NOT LOADED
Net Performance Factor (Engine!B11) | 4.7974 | 1 | FIXTURE NOT LOADED
Systems required, adjusted (Engine!B18) | 1 | 1 | FIXTURE NOT LOADED
Systems required, floor (Engine!B19) | 3 | 1 | FIXTURE NOT LOADED
Capex compute+network (Engine!B31) | 1359793 | 1359793 | FIXTURE NOT LOADED
Capex storage (Engine!B32) | 668125.7143 | 675000 | FIXTURE NOT LOADED
Storage support $/mo (Engine!B39) | 4124.2122 | 4167 | FIXTURE NOT LOADED
Power $/mo (Engine!B35) | 7289.4476 | 7320 | FIXTURE NOT LOADED
Other facility $/mo (Engine!B37) | 3110.5453 | 3111 | FIXTURE NOT LOADED
Admin $/mo (Engine!B38) | 1575 | 1575 | FIXTURE NOT LOADED
Selected opex $/mo (Engine!B42) | 16099.2051 | 16173 | FIXTURE NOT LOADED
One-time costs (Engine!B54) | 359648.7937 | 50000 | FIXTURE NOT LOADED
Residual credit (Engine!B55) | 186767.8071 | 0 | FIXTURE NOT LOADED
Cloud storage + egress $/mo (Engine!B25) | 51965.3333 | 52500 | FIXTURE NOT LOADED
Cloud admin $/mo (Engine!B26) | 574.1667 | 574 | FIXTURE NOT LOADED
Cloud monthly total (compute+storage+admin) | 105079 | 105079 | FIXTURE NOT LOADED
Equinix opex option $/mo (Engine!B41) | 15511.2122 | 15554 | FIXTURE NOT LOADED
Lease view (blank factor → text) (Engine!B51) | not entered | not entered | FIXTURE NOT LOADED
Crossover month under fixture (Results!B26) | Month 25 | Month 24 | FIXTURE NOT LOADED
v2.1: coverage extended to cloud storage/admin/total, Equinix option and lease text; fixture check now verifies GPU class, facility, system and provider.
SCENARIO CHECKLIST (manual, one at a time — v2.3):
S1 No-crossover text: bill $10,000, Storage mode Auto, other defaults → Results!B26 shows the no-crossover text, not a month.
S2 Ops-growth sensitivity (cell-based): note Crossover!B61 and C61 (month-60 cumulative cloud and on-prem), change RateCard!B37 from 0.04 to 0.08, confirm BOTH cells increase, then restore 0.04. Do not use the rounded crossover month as the signal — at default spend it stays Month 25 for both rates (rounding), which is exactly why a cell-level check is required (audit round 6).
S3 N+1 invariance: toggle Inputs!B36 from 0 to 1 → Results!B23 headroom values UNCHANGED (spare is not growth capacity).
S4 Capacity suppression: high bill (e.g. $2M) with growth 25% → if crossover month exceeds adjusted exhaustion, Results!B26 shows the cannot-be-determined text.
S5 Class routing: switch Inputs!B8 H100 ↔ B200 → Engine!B4 blended rate changes per CloudRates (H100 ≈ $35.90 vs B200 ≈ $71.24 at 100% reserved).

## Crossover
Month | Cloud cum ($) | On-prem cum ($) | Crossed | v2.3: cumulative monthly cash flows from the STATED bill (single source of truth with Results): compute portion grows at demand rate, non-compute at RateCard ops growth; reconstructed components validate the bill (reconciliation) but do not replace it. On-prem = capex + one-time at month 1 + opex growing at RateCard ops growth. Residual excluded until exit.
1 | 105079 | 2403666.7131 | 0
2 | 210158 | 2419765.9182 | 0
3 | 315237 | 2435865.1233 | 0
4 | 420316 | 2451964.3285 | 0
5 | 525395 | 2468063.5336 | 0
6 | 630474 | 2484162.7387 | 0
7 | 735553 | 2500261.9438 | 0
8 | 840632 | 2516361.149 | 0
9 | 945711 | 2532460.3541 | 0
10 | 1050790 | 2548559.5592 | 0
11 | 1155869 | 2564658.7643 | 0
12 | 1260948 | 2580757.9695 | 0
13 | 1381263.455 | 2597501.1428 | 0
14 | 1501578.91 | 2614244.3161 | 0
15 | 1621894.365 | 2630987.4895 | 0
16 | 1742209.82 | 2647730.6628 | 0
17 | 1862525.275 | 2664473.8361 | 0
18 | 1982840.73 | 2681217.0095 | 0
19 | 2103156.185 | 2697960.1828 | 0
20 | 2223471.64 | 2714703.3561 | 0
21 | 2343787.095 | 2731446.5295 | 0
22 | 2464102.55 | 2748189.7028 | 0
23 | 2584418.005 | 2764932.8761 | 0
24 | 2704733.46 | 2781676.0495 | 0
25 | 2843653.1519 | 2799088.9497 | 1
26 | 2982572.8439 | 2816501.85 | 1
27 | 3121492.5359 | 2833914.7503 | 1
28 | 3260412.2278 | 2851327.6505 | 1
29 | 3399331.9197 | 2868740.5508 | 1
30 | 3538251.6117 | 2886153.4511 | 1
31 | 3677171.3037 | 2903566.3513 | 1
32 | 3816090.9956 | 2920979.2516 | 1
33 | 3955010.6875 | 2938392.1519 | 1
34 | 4093930.3795 | 2955805.0521 | 1
35 | 4232850.0714 | 2973217.9524 | 1
36 | 4371769.7634 | 2990630.8527 | 1
37 | 4533485.7665 | 3008740.269 | 1
38 | 4695201.7695 | 3026849.6852 | 1
39 | 4856917.7726 | 3044959.1015 | 1
40 | 5018633.7757 | 3063068.5178 | 1
41 | 5180349.7787 | 3081177.9341 | 1
42 | 5342065.7818 | 3099287.3503 | 1
43 | 5503781.7849 | 3117396.7666 | 1
44 | 5665497.7879 | 3135506.1829 | 1
45 | 5827213.791 | 3153615.5992 | 1
46 | 5988929.7941 | 3171725.0155 | 1
47 | 6150645.7971 | 3189834.4317 | 1
48 | 6312361.8002 | 3207943.848 | 1
49 | 6502095.8477 | 3226777.6409 | 1
50 | 6691829.8952 | 3245611.4339 | 1
51 | 6881563.9426 | 3264445.2268 | 1
52 | 7071297.9901 | 3283279.0197 | 1
53 | 7261032.0376 | 3302112.8127 | 1
54 | 7450766.0851 | 3320946.6056 | 1
55 | 7640500.1326 | 3339780.3985 | 1
56 | 7830234.1801 | 3358614.1914 | 1
57 | 8019968.2276 | 3377447.9844 | 1
58 | 8209702.275 | 3396281.7773 | 1
59 | 8399436.3225 | 3415115.5702 | 1
60 | 8589170.37 | 3433949.3632 | 1